Eetarp GPM96 Power Meter

Testing and Commissioning Report

(Job no：)

# Testing & Commissioning Checklist/ Record sheet

## GPM96 Setting & Information

Information

| S/N | Description | Information |
| --- | --- | --- |
| 01 | Model | GPM96-PK4 |
| 02 | Serial Number |  |

Visual Checking

| S/N | Description | Location | Result (✓/×/NA) |
| --- | --- | --- | --- |
| 01 | Verify GPM96-PK4 is mounted securely |  |  |
| 02 | Verify GPM96-PK4 could be power up properly |  |  |
| 03 | Verify all installation is according to requirement |  |

GPM96 Parameter Setting:

| S/N | Parameter | Set Value |
| --- | --- | --- |
| 01 | CT ratio: - |  |
| 02 | PT ratio: - |  |
| 03 | WIRING Mode: - |  |
| 04 | Communication: Baud: Mode: Address: |  |

## GPM96 Data Verification

| Parameter | Meter Reading | System |  | Parameter | Meter Reading | System |
| --- | --- | --- | --- | --- | --- | --- |
| I1 |  |  |  | Stot |  |  |
| I2 |  |  |  | PF1 |  |  |
| I3 |  |  |  | PF2 |  |  |
| In |  |  |  | PF3 |  |  |
| V1 |  |  |  | PFsys |  |  |
| V2 |  |  |  | Energy |  |  |
| V3 |  |  |  | THDV1 |  |  |
| V12 |  |  |  | THDV2 |  |  |
| V23 |  |  |  | THDV3 |  |  |
| V31 |  |  |  | THDI1 |  |  |
| P1 |  |  |  | THDI2 |  |  |
| P2 |  |  |  | THDI3 |  |  |
| P3 |  |  |  | DI1 |  |  |
| Ptot |  |  |  | DI2 |  |  |
| Hz |  |  |  | DI3 |  |  |
| S1 |  |  |  | DI4 |  |  |
| S2 |  |  |  |  |  |  |
| S3 |  |  |  |  |  |  |

## Remarks

| Test by |  | Witness by |  |
| --- | --- | --- | --- |
| Name: |  | Name: |  |
| Company: |  | Company: |  |
| Signature: |  | Signature: |  |
| Date: |  | Date: |  |